## Slide 1: Quality Assurance of Lab Results
Jeff Zimmer,
Manager, SRC Environmental Analytical Laboratories

## Slide 2: Outline
Quality
Lab data
Accreditation
Different QC techniques
Uncertainty

## Slide 3: Quality – What is it?
T-shirt example
Quality is defined by the customer!

## Slide 4: Quality – What is it?
Quality Objectives
  Ideally pre-defined
  Based on
    Decisions
    Desired outcomes
    Allowable risk for the project
    Techniques (testing availability)
Customer specifications
  Work with lab to assess if your needs are met

## Slide 5: Quality – What is it?
Uncertainty
Considerations:
  Often biggest source of uncertainty is sampling
  Transport, handling and storage can contribute
  How will uncertainty impact your decisions
    Decision rules in meeting requirements

## Slide 6: Accreditation
Accreditation to ISO/IEC 17025:2017
  Requirement for drinking water tests (most provinces)
  Increasingly adopted by regulatory agencies
    Wastewater and other environmental tests
Minimum expectation for a lab

## Slide 7: Accreditation
Broad-based requirements of accreditation:
Quality System
  Management reviews
  Internal Audits
  Continual Improvement
  Proficiency Testing
  Document Control
Although broad based requirements are in place, accreditation is granted for specific parameters

## Slide 8: Accreditation
Some requirements of accreditation that you should be aware of:
Cooperation with clients
Solicitation of feedback
Response to complaints

## Slide 9: Lab Data
Where do errors come from?
Human
Mislabeling, mix-ups, incorrect processing
Sample
Interferences, homogeneity,
Processing
Instrument drift, reagent purity
Calibration
Standards, dilutions, accurate representation of sample

## Slide 10: Quality Assurance Tools
QC Tools
  Specifications or requirements
    Hard and fast rules on if something is okay or not
  Calibration
  Control samples
  Duplicates
  Internal standards
  Spikes, blanks, verification standards, etc.

## Slide 11: Quality Assurance Tools
Calibration requirements
Duplicates
  What do they tell us?
  Typically evaluated by % Difference
    Watch the calculation here.
    Commonly done 2 different ways:
      (x1-x2)/xavg * 100%
      (x1- xavg )/ xavg * 100%
Field duplicates
  A tool that can be used by lab clients
  Assess uncertainty associated with sampling

## Slide 12: Quality Assurance Tools
Blanks
  Field; Trip
    Assess unexpected contamination in the field
  Method
    Assess all processing steps in method
  Reagent
Control samples
  Standard or reference material that goes through all method steps

## Slide 13: Quality Assurance Tools
Spikes
Can be useful for assessing issues with sample matrix (or processing)
They don't always work
  Dependent on ratio of analyte in spike and sample

## Slide 14: Proficiency Testing (PT)
Interlaboratory Programs
  Samples prepared to contain the same amount of analyte
  Distributed to several labs for analysis
  Statistical analysis of data reveals any issues
  Confidential results provided to lab
  Lab provides PT results to their accreditation body
  Not always available

## Slide 15: Uncertainty
Relates to the required Data Quality Objectives
Typically determined in lab via stats
  Lab data that can be used to estimate uncertainty
    Control Samples,
    Duplicates
    PT samples
    Method validation data

## Slide 16: Uncertainty
Uncertainty can be expressed directly
  Example: 103 ± 5
Significant figures imply a level of uncertainty
  Example: 103
  Implication is that the uncertainty in the result is primarily associated with the last significant figure
Remember uncertainty is an estimate

## Slide 17: Summary
Customer determines the quality
  Understand your quality objectives
  Uncertainty helps to understand data
Many QC tools to ensure integrity of lab data
  Don’t be afraid to ask for this info
Accreditation
  A basic, but important tool for ensuring lab quality
Things happen
  The lab’s response is key to your response
  Make sure you are satisfied with their explanation

## Slide 18: Questions?

## Slide 19
Jeff Zimmer
Manager, SRC Environmental Analytical Laboratories
306-933-5204
Jeff.Zimmer@src.sk.ca